City of Whitefish

Department of Public Works

418 E. 2nd Street | PO Box 158

Whitefish, MT  59937

(406) 863-2460 | Fax (406) 863-2419

Private Project Acceptance Checklist

In order for projects with public utilities (streets, water, sewer, etc.) to receive Final Plat or Certificate of Occupancy, final acceptance of the public utilities must occur.   To consider acceptance of any public utilities, the following items must be completed and submitted to the Public Works Office Manager as a single complete package, along with this checklist.  Individually submitted items will not be accepted.

  - Comprehensive final walk through with City staff, the Engineer, and the Contractor.

Date of Final Walk Through: _____________________

  - Completion of punch list items.

  - Final certification from the Engineer that the project has been completed in accordance with the approved plans and specifications.  The certification letter must include the date of final walk through, a copy of the completed punch list, and the expiration date of the two-year maintenance bond.

  - Final record drawings in accordance with section 2.3 of the City of Whitefish Engineering Standards.  Electronic files must be submitted in CAD and PDF, hard copies must be 24" x 36" or 22" x 34".

  - Complete set of daily construction progress and inspection reports and photographs (electronic copy only).

  - Copies of the required tests, including the log or tape of the TV sewer main inspection, bacteriological tests, pressure tests, hydrant flow tests, compaction tests, and other testing as required.  If applicable, provide the following information regarding sewer video review by City staff:

Name  of Reviewer: ___________________________    Date of Approval: ____________

  - Two-year maintenance bond provided in accordance with 1.5.1 of the City of Whitefish Engineering Standards.  To be accepted, the engineer must provide a detailed breakdown of the total project value and include it with the bond.